## Slide 1: Report 06/08/2020
P. Hacker

## Slide 2: Improvement on Reconstruction and Chordal Profiles
forward and backward calculation now using the emissivity matrices themselves, instead of channel geometries individually, hence calculating directly to and from the tomogram/phantom
comparing to input chordal profiles rather than archived ones
also found error in channel selection and mapping that cause restrictions to zero where no data has been provided or excluded
deleted broken and unusable channels from script

## Slide 3: Improvement on Reconstruction and Chordal Profiles
(current)
(previously)

## Slide 4: Revisiting: Phantom Tests with Anisotropy Tests
forward and backward calculation from and tomogram/phantom with MSD (mean square deviation) error and Χ² measurement
for different phantoms and same geometry scanning the core and edge weighting factor for emissivity matrices

## Slide 5: Revisiting: Phantom Tests with Anisotropy Tests
forward and backward calculation from and tomogram/phantom with MSD (mean square deviation) error and Χ² measurement
for different phantoms and same geometry scanning the core and edge weighting factor for emissivity matrices
evaluating X², MSD for every test individually, aiming for best reconstruction of the phantom

## Slide 6: Phantoms: Asymmetric Spot Core Scan
1.3
1.4
Kcore=1.25, kdiff=0.8
1.35
1.5
1.45
1.55
1.6
X²=13.6
X²=8.0
X²=8.83
X²=12.27
X²=1.094
X²=1.43
X²=2.0
X²=6.98

## Slide 7: Phantoms: Asymmetric Spot Core Scan
1.65
1.7
1.75
1.8
X²=28.75
X²=82.28
X²=180.9
X²=317.9

## Slide 8: Phantoms: Asymmetric Spot Edge Scan
0.6
0.7
Kcore=1.5, kdiff=0.55
0.65
0.8
0.75
0.85
0.9
X²=11.63
X²=6.58
X²=3.01
X²=1.99
X²=1.43
X²=1.27
X²=1.09
X²=1.69

## Slide 9: Phantoms: Asymmetric Spot Core Scan
0.95
1.0
1.05
X²=1.04
X²=11.7
X²=10.07

## Slide 10: Phantoms: Asymmetric Spot (Flipped) Edge Scan
Kcore=1.5, kdiff=0.9
0.95
X²=1.07
X²=1.03

## Slide 11: Phantoms: Ring inside LCFS Core Scan
1.3
1.4
Kcore=1.25, kdiff=0.8
1.35
1.5
1.45
1.55
1.6
X²=32.8
X²=1.84
X²=1.02
X²=1.0
X²=1.04
X²=1.01
X²=1.04
X²=1.21

## Slide 12: Phantoms: Ring inside LCFS Core Scan
1.7
1.8
1.65
1.75
X²=1.44
X²=2.51
X²=8.03
X²=20.56
Kcore=1.5, kdiff=0.8

## Slide 13: Phantoms: Ring outside LCFS Scan
Kcore=1.35, kdiff=0.8
X²=1.004
X²=1.001
X²=1.007
X²=1.012
X²=1.038
X²=1.012
Kcore=1.45, kdiff=0.8
Kcore=1.4, kdiff=0.8
Kcore=1.6, kdiff=0.8
Kcore=1.5, kdiff=0.55
Kcore=1.5, kdiff=0.6

## Slide 14: Phantoms: Island Mimic outside LCFS Scan
Kcore=1.6, kdiff=0.8
X²=9.79
X²=6.208
X²=19.38
X²=6.98
X²=6.16
Kcore=1.65, kdiff=0.8
Kcore=1.7, kdiff=0.8
Kcore=1.5, kdiff=0.55
Kcore=1.5, kdiff=0.6
Kcore=1.5, kdiff=1.0
X²=1.01

## Slide 15: Phantoms: Combinations

## Slide 16: Phantoms: Combinations
X²=4.87
X²=5.56

## Slide 17: Phantoms: Combinations

## Slide 18: Revisited: Cartesian Test, No Anisotropic Weighting

## Slide 19: Revisited: Cartesian Test, No Anisotropic Weighting

## Slide 20: STRAHL Profiles and 20181010.032 Feedback Discharge
X²=94.85
X²=1.43
frad=33%

## Slide 21: STRAHL Profiles and 20181010.032 Feedback Discharge
X²=2218
X²=1. 01
frad=66%

## Slide 22: STRAHL Profiles and 20181010.032 Feedback Discharge
X²=2245
X²=1.05
frad=90%

## Slide 23: STRAHL Profiles and 20181010.032 Feedback Discharge
X²=4705
X²=1.009
frad=100%

## Slide 24: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm

## Slide 25: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm

## Slide 26: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm

## Slide 27: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm

## Slide 28: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm

## Slide 29: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm

## Slide 30: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm

## Slide 31: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm

## Slide 32: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm

## Slide 33: Revisited: Test of 20180725.044
KJM magnetic configuration
chordal profile HBCm