## Slide 1: Near Real Time Feedback on Plasma Radiation at W7-X
P. Hacker

## Slide 2: Background & Motivation
We try to use the Bolometer to control the plasma based off of information on the radiation distribution:
adjust heat loads, investigate radiation regimes, maybe improved detachment
investigate radiation, i.e. importance of intrinsic/extrinsic impurities and local + global power balance
Plasma radiation
Data acquisition & calibrations
FIFO multi/single LOS feedback
Plasma feedback
Fast valve of thermal helium beam

## Slide 3: Feedback Evaluation
limited set of lines of sight possible for fast feedback calculations (e.g. 3-5 channels)
Multi-camera system with 113 channels combined: 32 horizontal, 2x24 vertical

## Slide 4: Detector
spatial resolution of 5cm & temporal resolution of 0.8ms to 6.4ms, spectral range between 600nm to 0.2nm
detectors of gold-foil absorbers with carbon coating on silicon-nitrate substrate and gold meander for 200nW resolution

## Slide 5: Equations
Plasma Radiation:
Bolometer Power:
Feedback Prediction:

## Slide 6: Work-/Dataflow: DAQ

## Slide 7: Work-/Dataflow: DAQ

## Slide 8: Work-/Dataflow: Feedback

## Slide 9: Work-/Dataflow: Feedback

## Slide 10: Example Experiment
increasing power loss fraction () through evaluation of the radiation distribution, i.e. as an actuator
initial ramping phase by gas puffing from thermal helium beam until target or
fast valve is opened & closed according to feedback aiming for radiation loss equal to input power

## Slide 12: Appendix: Emissivity Factors
VBCr
VBCl
HBCm